## Precision Study
i-STAT TBI Cartridge | [8 empty] | i-STAT TBI Cartridge
Precision Study | [8 empty] | Precision Study
Hospital Name | [8 empty] | Hospital Name
Serial Number#: | [8 empty] | Serial Number#:
CLEW version: | [8 empty] | CLEW version:
| eVAS (if applicable:) | [8 empty] | eVAS (if applicable:)
Cartridge Lot#: | [8 empty] | Cartridge Lot#:
Control Level 1 Lot#: | [8 empty] | Control Level 1 Lot#:
Control Level 2 Lot#: | [8 empty] | Control Level 2 Lot#:
Date(s): | [8 empty] | Date(s):
| Number | TBI Control Level 2 |  |  | Number | TBI Control Level 2 |  |  |  | Number | TBI Control Level 2 |  |  | Number | TBI Control Level 2
|  | GFAP | UCH-L1 | Interpretation |  | GFAP | UCH-L1 | Interpretation |  |  | GFAP | UCH-L1 | Interpretation |  | GFAP | UCH-L1 | Interpretation
| 1 |  |  |  | 1 |  |  |  |  | 1 |  |  |  | 1
| 2 |  |  |  | 2 |  |  |  |  | 2 |  |  |  | 2
| 3 |  |  |  | 3 |  |  |  |  | 3 |  |  |  | 3
| 4 |  |  |  | 4 |  |  |  |  | 4 |  |  |  | 4
| 5 |  |  |  | 5 |  |  |  |  | 5 |  |  |  | 5
| 6 |  |  |  | 6 |  |  |  |  | 6 |  |  |  | 6
| 7 |  |  |  | 7 |  |  |  |  | 7 |  |  |  | 7
| 8 |  |  |  | 8 |  |  |  |  | 8 |  |  |  | 8
| 9 |  |  |  | 9 |  |  |  |  | 9 |  |  |  | 9
| 10 |  |  |  | 10 |  |  |  |  | 10 |  |  |  | 10
| 11 |  |  |  | 11 |  |  |  |  | 11 |  |  |  | 11
| 12 |  |  |  | 12 |  |  |  |  | 12 |  |  |  | 12
| 13 |  |  |  | 13 |  |  |  |  | 13 |  |  |  | 13
| 14 |  |  |  | 14 |  |  |  |  | 14 |  |  |  | 14
| 15 |  |  |  | 15 |  |  |  |  | 15 |  |  |  | 15
| 16 |  |  |  | 16 |  |  |  |  | 16 |  |  |  | 16
| 17 |  |  |  | 17 |  |  |  |  | 17 |  |  |  | 17
| 18 |  |  |  | 18 |  |  |  |  | 18 |  |  |  | 18
| 19 |  |  |  | 19 |  |  |  |  | 19 |  |  |  | 19
| 20 |  |  |  | 20 |  |  |  |  | 20 |  |  |  | 20
Method Evaluation Workbook i-STAT TBI Cartridge ¦ NPE-5423-REV1-APOC-EN (v1.1) ¦ Revision Date: 04-JUN-2024 For in vitro diagnostic use only.©2024 Abbott. All rights reserved. ¦ i-STAT and i-STAT Alinity are trademarks of Abbott. Abbott Point of Care Inc.¦ 400 College Road East ¦ Princeton, NJ 08540 USA ¦ (609) 454-9000, (609) 419-9370 (fax) ¦ www.globalpointofcare.abbott Not all products available in all regions; visit www.globalpointofcare.abbott for product intended use and system details. | [8 empty] | Method Evaluation Workbook i-STAT TBI Cartridge ¦ NPE-5423-REV1-APOC-EN (v1.1) ¦ Revision Date: 04-JUN-2024 For in vitro diagnostic use only.©2024 Abbott. All rights reserved. ¦ i-STAT and i-STAT Alinity are trademarks of Abbott. Abbott Point of Care Inc.¦ 400 College Road East ¦ Princeton, NJ 08540 USA ¦ (609) 454-9000, (609) 419-9370 (fax) ¦ www.globalpointofcare.abbott Not all products available in all regions; visit www.globalpointofcare.abbott for product intended use and system details.

## Reportable Range Study
i-STAT TBI Cartridge |  |  |  |  | i-STAT TBI Cartridge
Reportable Range Verification Study |  |  |  |  | Reportable Range Verification Study
Hospital Name |  |  |  |  | Hospital Name
Cartridge Lot#: |  |  |  |  | Cartridge Lot#:
Cal/Ver Lot: |  |  |  |  | Cal/Ver Lot:
Date: |  |  |  |  | Date:
| Serial #: |  | CLEW: |  |  | Serial #: |  | CLEW:
| TBI Cal/Ver Level | GFAP | UCH-L1 | Interpretation |  | TBI Cal/Ver Level | GFAP | UCH-L1 | Interpretation
| 1 |  |  |  |  | 1
| 2 |  |  |  |  | 2
| 3 |  |  |  |  | 3
| Serial #: |  | CLEW: |  |  | Serial #: |  | CLEW:
| TBI Cal/Ver Level | GFAP | UCH-L1 | Interpretation |  | TBI Cal/Ver Level | GFAP | UCH-L1 | Interpretation
| 1 |  |  |  |  | 1
| 2 |  |  |  |  | 2
| 3 |  |  |  |  | 3
Method Evaluation Workbook i-STAT TBI Cartridge ¦ NPE-5423-REV1-APOC-EN (v1.1) ¦ Revision Date: 04-JUN-2024 For in vitro diagnostic use only.©2024 Abbott. All rights reserved. ¦ i-STAT and i-STAT Alinity are trademarks of Abbott. Abbott Point of Care Inc.¦ 400 College Road East ¦ Princeton, NJ 08540 USA ¦ (609) 454-9000, (609) 419-9370 (fax) ¦ www.globalpointofcare.abbott Not all products available in all regions; visit www.globalpointofcare.abbott for product intended use and system details. |  |  |  |  | Method Evaluation Workbook i-STAT TBI Cartridge ¦ NPE-5423-REV1-APOC-EN (v1.1) ¦ Revision Date: 04-JUN-2024 For in vitro diagnostic use only.©2024 Abbott. All rights reserved. ¦ i-STAT and i-STAT Alinity are trademarks of Abbott. Abbott Point of Care Inc.¦ 400 College Road East ¦ Princeton, NJ 08540 USA ¦ (609) 454-9000, (609) 419-9370 (fax) ¦ www.globalpointofcare.abbott Not all products available in all regions; visit www.globalpointofcare.abbott for product intended use and system details.

## Method Comparison for Clinical
Method Evaluation Workbook i-STAT TBI Cartridge ¦ NPE-5423-REV1-APOC-EN (v1.1) ¦ Revision Date: 04-JUN-2024 For in vitro diagnostic use only.©2024 Abbott. All rights reserved. ¦ i-STAT and i-STAT Alinity are trademarks of Abbott. Abbott Point of Care Inc.¦ 400 College Road East ¦ Princeton, NJ 08540 USA ¦ (609) 454-9000, (609) 419-9370 (fax) ¦ www.globalpointofcare.abbott Not all products available in all regions; visit www.globalpointofcare.abbott for product intended use and system details.
i-STAT TBI Cartridge
Method Comparison Study - Clinical Correlation
Hospital Name
Patient Number | Date | Patient Age | Time Arrival in the ED | Time of Injury | Time since injury (within 24 hours) | Time seen by Dr | GCS on Arrival (Must be GCS: 13-15) | Patient taking anticoagulants? | Patient taking anti-platelet meds? | Time Patient Sample was collected (EDTA tube) (test wihtin 1 hour of collection) | Biomarker result date and time (date and time displayed on the device with the result) | Biomarker Result (Elevated/Not Elevated) | CT Performed (Y/N) | Time CT performed | CT Findings | Biomarker/Findings agree? (Y/N) | Admitted/Discharged? | Time left the ED | Comments

## Method Comparison for Accuracy
i-STAT TBI Cartridge | [6 empty] | i-STAT TBI Cartridge
Method Comparison - Accuracy | [6 empty] | Method Comparison - Accuracy
Hospital Name | [6 empty] | Hospital Name
Cartridge Lot#: | [6 empty] | Cartridge Lot#:
Serial#: | [6 empty] | Serial#:
CLEW version: | [6 empty] | CLEW version:
Comparator Details: | [6 empty] | Comparator Details:
Sample | i-STAT GFAP | i-STAT UCH-L1 | Comp GFAP | Comp UCH-L1 | FP/WB | Comment | Sample | i-STAT GFAP | i-STAT UCH-L1 | Comp GFAP | Comp UCH-L1 | FP/WB | Comment
1 | [6 empty] | 1
2 | [6 empty] | 2
3 | [6 empty] | 3
4 | [6 empty] | 4
5 | [6 empty] | 5
Method Evaluation Workbook i-STAT TBI Cartridge ¦ NPE-5423-REV1-APOC-EN (v1.1) ¦ Revision Date: 04-JUN-2024 For in vitro diagnostic use only.©2024 Abbott. All rights reserved. ¦ i-STAT and i-STAT Alinity are trademarks of Abbott. Abbott Point of Care Inc.¦ 400 College Road East ¦ Princeton, NJ 08540 USA ¦ (609) 454-9000, (609) 419-9370 (fax) ¦ www.globalpointofcare.abbott Not all products available in all regions; visit www.globalpointofcare.abbott for product intended use and system details. | [6 empty] | Method Evaluation Workbook i-STAT TBI Cartridge ¦ NPE-5423-REV1-APOC-EN (v1.1) ¦ Revision Date: 04-JUN-2024 For in vitro diagnostic use only.©2024 Abbott. All rights reserved. ¦ i-STAT and i-STAT Alinity are trademarks of Abbott. Abbott Point of Care Inc.¦ 400 College Road East ¦ Princeton, NJ 08540 USA ¦ (609) 454-9000, (609) 419-9370 (fax) ¦ www.globalpointofcare.abbott Not all products available in all regions; visit www.globalpointofcare.abbott for product intended use and system details.
i-STAT TBI Cartridge
Method Comparison - Accuracy
Hospital Name
Cartridge Lot#:
Serial#:
CLEW version:
Comparator Details:
Sample | i-STAT GFAP | i-STAT UCH-L1 | Comp GFAP | Comp UCH-L1 | FP/WB | Comment
1
2
3
4
5
Method Evaluation Workbook i-STAT TBI Cartridge ¦ NPE-5423-REV1-APOC-EN (v1.1) ¦ Revision Date: 04-JUN-2024 For in vitro diagnostic use only.©2024 Abbott. All rights reserved. ¦ i-STAT and i-STAT Alinity are trademarks of Abbott. Abbott Point of Care Inc.¦ 400 College Road East ¦ Princeton, NJ 08540 USA ¦ (609) 454-9000, (609) 419-9370 (fax) ¦ www.globalpointofcare.abbott Not all products available in all regions; visit www.globalpointofcare.abbott for product intended use and system details.

## Considerations and Definitions
Considerations for testing | i-STAT TBI Intended Use | i-STAT TBI Off-Label Use | Comments
GCS | mild: 13-15 | moderate: 9-12 severe: 3-8
Age range | 18 years and older | not cleared for pediatric use |  | im
Sample type | EDTA whole blood only (venous ) | Plasma | do not use plasma sample for patient test.
Time: injury to sample draw | within 24 hours of injury | greater than 24 hours of injury
test setting | clinical lab and point of care settings |  | performed by healthcare professional
Definitions
GCS | Glasgow Coma Scale
GFAP | glial fibrillary acidic protein | found in brain parenchyma
UCH-L1 | ubiquitin carboxy-terminal hydrolase L1 | protein involved in the metabolism of ubiquitin within neurons
Result: Not-elevated | associated with the absence of acute traumatic intracranial lesions on head CT scan
Result: elevated | further evaluation by head CT scan should be considered
results in yellow on Alinity | yellow indicates an 'elevated' interpretation
Reportable Range
GFAP | 47-10000 pg/mL | Results may be preceded by < or > symbols if the result is outside of the reportable range
UCH-L1 | 87-3200 pg/mL
Cutoff
GFAP | 65 pg/mL
UCH-L1 | 360 pg/mL