## Info
i-STAT hs-TnI CARTRIDGE
DATA COLLECTION SHEET METHOD EVALUATION
To have a verification report produced, please complete this form by typing in the information below (please do not provide handwritten responses as they will be returned) and the attached worksheets electronically. Return the completed forms and worksheets via email to hs-TnISupport@abbott.com.
Facility Name: |  |  |  | Facility Contact:
Contact E-Mail: |  |  |  | Contact Phone:
Mailing Address:
City / State / Zip:
Start Date: |  |  | Completion Date: |  | i-STAT Sales Representative Name:
i-STAT Software Version (JAMS/CLEW): |  |  |  | i-STAT Cartridge Lot #:
Comparative Method (manufacturer and model): |  |  |  | Lot # of Comparative Method:
Overall 99th Percentile:
Male 99th Percentile:
Female 99th Percentile:
hs-TnI Control Lot Numbers: | Level 1:
Level 2:
Level 3:
Calibration Verification Lot Kit #:
IMPRECISION:
Run two/three levels of control tested in duplicate over two days on each handheld for a minimal total of 20 data points.
CALIBRATION VERIFICATION:
Run calibration verification set levels low, mid, high once on each handheld.
METHOD COMPARISON:
Recommendations: - Test an approved sample size of patients against the comparative instrument. - - For sex specific cutoff verifications, include an appropriate mix of male and female samples - Include as many samples around the 99th percentile as possible. - Include serial draw samples from at least 2 patients with suspected ACS - Include negative samples from healthy patients - Test samples in duplicate (twice on i-STAT, twice on the comparative) Saved Samples: - Ensure sex, troponin value, and a patient identifier are available for each sample
For in vitro diagnostic use only. For complete product information, visit www.globalpointofcare.abbott
Abbott ¦ Point of Care Diagnostics ¦ 400 College Road East ¦ Princeton NJ 08540 ¦ (609) 454-9000
© 2025 Abbott All rights reserved ¦ i-STAT is a trademark of Abbott. ¦ This material is intended for a U.S. audience only. ¦ APOC-25002213 03/2025

## Cardiac Method Comp.
i-STAT hs-TnI CARTRIDGE METHOD COMPARISON
| i-STAT Male 99th%: |  |  | Comp. Male 99th%: |  | Comparative Instrument:
| i-STAT Female 99th%: |  |  | Comp. Female 99th%:
Sample | i-STAT 1 | i-STAT 2 | Comp 1 | Comp 2 | Sex | Plasma/Blood | Comment
1
2
3
4
5
6
7
8
9
10
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31
32
33
34
35
36
37
38
39
40
41
42
43
44
45
46
47
48
49
50
51
52
53
54
55
56
57
58
59
60
61
62
63
64
65
66
67
68
69
70
71
72
73
74
75
76
77
78
79
80
81
82
83
84
85
86
87
88
89
90
91
92
93
94
95
96
97
98
99
100

## Cardiac Imp.
i-STAT hs-TnI CARTRIDGE PRECISION
| CONTROL LV 1 |  | CONTROL LV 2 |  | CONTROL LV 3
| Number | hs-TnI | Number | hs-TnI | Number | hs-TnI
| 1 |  | 1 |  | 1
| 2 |  | 2 |  | 2
| 3 |  | 3 |  | 3
| 4 |  | 4 |  | 4
| 5 |  | 5 |  | 5
| 6 |  | 6 |  | 6
| 7 |  | 7 |  | 7
| 8 |  | 8 |  | 8
| 9 |  | 9 |  | 9
| 10 |  | 10 |  | 10
| 11 |  | 11 |  | 11
| 12 |  | 12 |  | 12
| 13 |  | 13 |  | 13
| 14 |  | 14 |  | 14
| 15 |  | 15 |  | 15
| 16 |  | 16 |  | 16
| 17 |  | 17 |  | 17
| 18 |  | 18 |  | 18
| 19 |  | 19 |  | 19
| 20 |  | 20 |  | 20

## Cal. Ver.
i-STAT hs-TnI CARTRIDGE CALIBRATION VERIFICATION (CAL VER)
| SERIAL # |  | SERIAL # |  | SERIAL #
| Number | hs-TnI | Number | hs-TnI | Number | hs-TnI
| 1 |  | 1 |  | 1
| 2 |  | 2 |  | 2
| 3 |  | 3 |  | 3
| SERIAL # |  | SERIAL # |  | SERIAL #
| Number | hs-TnI | Number | hs-TnI | Number | hs-TnI
| 1 |  | 1 |  | 1
| 2 |  | 2 |  | 2
| 3 |  | 3 |  | 3
| SERIAL # |  | SERIAL # |  | SERIAL #
| Number | hs-TnI | Number | hs-TnI | Number | hs-TnI
| 1 |  | 1 |  | 1
| 2 |  | 2 |  | 2
| 3 |  | 3 |  | 3